## CEC HW Main Meter Power
Dataset | Description | Window Points | Approx Window Timeframe (hr) | Patience | Model Runtime (min) | Notes | Thresholds Looked At | Estimated Best Threshold | General Comments
CEC_compiled_data_1a_updated.csv | No Anomalies Labelled | 30 | 0.5 | [5 empty] | - doesn't do this - does this - does this
CEC_compiled_data_1a_updated.csv | No Anomalies Labelled | 60 | 1
CEC_compiled_data_1a_updated.csv | No Anomalies Labelled | 720 | 12 |  |  | Only run on first 50% of dataset (too large)

## CEC Boiler B-1 Exhaust O2
Dataset | Description | Model Description | Window Points | Approx Window Timeframe (hr) | Patience | Model Runtime (min) | Notes | Thresholds Looked At | Estimated Best Threshold | General Comments | Pictures
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model A: Train [a,b,c] -> d: predicts anomaly on d | 4 | 1 | 10 | <2 |  | 0.25, 0.5, 0.75 | 0.25 | - Catches most jump anomalies - Short window prevents from anomalies from dragging on | data_5a_PD_ts_4_thresh_25_a data_5a_PD_ts_4_thresh_25_b data_5a_PD_ts_4_thresh_25_c data_5a_PD_ts_4_thresh_50_a data_5a_PD_ts_4_thresh_50_b data_5a_PD_ts_4_thresh_75_a
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model A: Train [a,b,c] -> d: predicts anomaly on d | 8 | 2 | 10 | <2 |  | 0.25, 0.5, 0.75 | 0.25 | - Catches most jump anomalies (couple less than 4 window) | data_5a_PD_ts_8_thresh_25_a data_5a_PD_ts_8_thresh_25_b data_5a_PD_ts_8_thresh_25_c data_5a_PD_ts_8_thresh_50_a data_5a_PD_ts_8_thresh_50_b data_5a_PD_ts_8_thresh_75_a
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model A: Train [a,b,c] -> d: predicts anomaly on d | 48 | 12 | 10 | <2 |  | 0.25, 0.5, 0.75 | 0.25 | - Catches most jump anomalies (couple less than 4 window) - PD prediction in general prevents anomalies from dragging on | data_5a_PD_ts_48_thresh_25_a data_5a_PD_ts_48_thresh_25_b data_5a_PD_ts_48_thresh_25_c data_5a_PD_ts_48_thresh_50_a data_5a_PD_ts_48_thresh_75_a
CEC_compiled_data_5a_updated.csv | Normal Training Data | Model A: Train [a,b,c] -> d: predicts anomaly on d | 4 | 1 | 10 | <2 | No significant difference from all data | 0.25, 0.5, 0.75 | 0.25 | - Very little difference from non-normal data | data_5a_PD_ts_4_thresh_25_a data_5a_PD_ts_4_thresh_25_b data_5a_PD_ts_8_thresh_25_c
CEC_compiled_data_5a_updated.csv | Normal Training Data | Model A: Train [a,b,c] -> d: predicts anomaly on d | 8 | 2 | 10 | <2 | No significant difference from all data | 0.25, 0.5, 0.75 | 0.25 | - Very little difference from non-normal data | data_5a_PD_ts_8_thresh_25_a data_5a_PD_ts_8_thresh_25_b data_5a_PD_ts_8_thresh_25_c
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model B: [a,b,c] -> [a,b,c]: predicts anomaly on mean([a,b,c]) | 4 | 1 | 10 | <2 |  | 0.25, 0.5, 0.75 | 0.25 | - Catches most jump anomalies - Short window prevents from anomalies from dragging on | data_5a_SW_ts_4_thresh_25_a data_5a_SW_ts_4_thresh_25_b data_5a_SW_ts_4_thresh_25_c data_5a_SW_ts_4_thresh_50_a data_5a_SW_ts_4_thresh_50_b data_5a_SW_ts_4_thresh_75_a
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model B: [a,b,c] -> [a,b,c]: predicts anomaly on mean([a,b,c]) | 8 | 2 | 10 | <2 |  | 0.25, 0.5, 0.75 | 0.25 | - Catches more contextual anomalies. Misses a couple jumps (more than 4) - Longer window starts dragging on anomalies | data_5a_SW_ts_8_thresh_25_a data_5a_SW_ts_8_thresh_25_b data_5a_SW_ts_8_thresh_25_c data_5a_SW_ts_8_thresh_50_a data_5a_SW_ts_8_thresh_50_b data_5a_SW_ts_8_thresh_75_a
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model B: [a,b,c] -> [a,b,c]: predicts anomaly on mean([a,b,c]) | 48 | 12 | 10 | <2 |  | 0.25, 0.5, 0.75 | 0.25 | - Misses quite a few anomlies - Longer window starts drags in long sequences | data_5a_SW_ts_48_thresh_25_a data_5a_SW_ts_48_thresh_25_b data_5a_SW_ts_48_thresh_25_c data_5a_SW_ts_48_thresh_50_a data_5a_SW_ts_48_thresh_75_a
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model C: Train [a,b,c] -> c: predicts anomaly on mean([a,b,c]) | 4 | 1 | 10 | <2 |  | 0.25, 0.33, 0.5, 0.75 | 0.25 | - Catches more contextual anomalies. Misses a couple jumps (more than 4) - Longer window starts dragging on anomalies | data_5a_ts_4_thresh_25_a data_5a_ts_4_thresh_25_b data_5a_ts_4_thresh_33_a data_5a_ts_4_thresh_33_b data_5a_ts_4_thresh_50_a data_5a_ts_4_thresh_50_b
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model C: Train [a,b,c] -> c: predicts anomaly on mean([a,b,c]) | 6 | 1.5 | 10 | <2 |  | 0.25, 0.33, 0.5, 0.75 | 0.25 | - Catches almost all human identified anomalies - Identifies more tp and fp (potentially) than 4 window | data_5a_ts_6_thresh_25_a data_5a_ts_6_thresh_25_b data_5a_ts_6_thresh_33_a data_5a_ts_6_thresh_33_b
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model C: Train [a,b,c] -> c: predicts anomaly on mean([a,b,c]) | 32 | 8 | 10 | <2 | This was supposed to be 24 hours but clearly messed up the math | 0.25, 0.33, 0.5, 0.75 | 0.25 | - Catches most large jumps but misses smaller anomalies | data_5a_ts_32_thresh_25_a data_5a_ts_32_thresh_25_b data_5a_ts_32_thresh_33_a data_5a_ts_32_thresh_33_b
CEC_compiled_data_5a_updated.csv | No Anomalies Labelled | Model C: Train [a,b,c] -> c: predicts anomaly on mean([a,b,c]) | 228 | 57 | 10 | <2 |  | 0.25, 0.33, 0.5, 0.75 | 0.25 | - Catches most large jumps but misses smaller anomalies - Some anomaly windows too long | data_5a_ts_228_thresh_25_a data_5a_ts_228_thresh_25_b data_5a_ts_228_thresh_33_a data_5a_ts_228_thresh_33_b
CEC_compiled_data_5a_updated.csv | Normal Training Data | Model C: Train [a,b,c] -> c: predicts anomaly on mean([a,b,c]) | 4 | 1 | 10 | <2 |  | 0.25, 0.33, 0.5, 0.75 | 0.25 | - Similar to non-normal training data - Seems to be missing a couple anomalies | data_5a_norm_ts_4_thresh_25_a data_5a_norm_ts_4_thresh_25_b data_5a_norm_ts_4_thresh_33_a data_5a_norm_ts_4_thresh_33_b
CEC_compiled_data_5a_updated.csv | Normal Training Data | Model C: Train [a,b,c] -> c: predicts anomaly on mean([a,b,c]) | 6 | 1.5 | 10 | <2 |  | 0.25, 0.33, 0.5, 0.75 | 0.25 | - Similar to non-normal training data - Seems to be missing a couple anomalies | data_5a_norm_ts_6_thresh_25_a data_5a_norm_ts_6_thresh_25_b data_5a_norm_ts_6_thresh_33_a data_5a_norm_ts_6_thresh_33_b