## 3 - HW Main Meter Flow
Questions for Ops: | No specific questions on this sensor. If possible would be good to get ops to comment/validate.
Timestep Recommendation: | Minimum daily windows to capture daily pattern - likely going with a 2-3 minimum day window is better. The data is ~minute data so would correspond with a minimum of 1500-4500 points.
Timestep Figures: | 3_step_a, 3_step_b
General Figures: | 3_all_a, 3_all_b
Photo # | Comment | Type Estimate | Date
3a | Several points drop to zero | Sensor | 2020-01-08
3b | Groups of points appear to jump above trend | Sensor | 2020-02-07
3c | Single point sitting well above trend | Sensor | 2020-02-21
3d | Points drop to zero rapidly | Sensor | 2020-03-15
3e | Points drop to zero rapidly | Sensor | 2020-03-25
3f | Points drop to zero rapidly | Sensor | 2020-04-10
3g | Points go down to zero and back up | System | 2020-05-08
3h | Points spike up and down | System | 2020-07-03
3i | Point near zero below trend | Sensor? | 2020-08-25
3j | Point well below trend | Sensor | 2020-11-09
3k | Points spike up and down | System? | 2020-11-27
3l | Points drop to zero rapidly | Sensor? | 2020-12-13
3m | Flatline of points above trend | Sensor | 2020-12-18
3n | Points drop to zero and go back up | System? | 2020-12-22
3o | Points spike up and down | Sensor | 2020-12-30
3p | Points spike up and down | System? | 2021-01-02
3q | Points spike up and down | System | 2021-02-03
3r | Points spike up and down | System | 2021-02-12
3s | Points spike up and down | System | 2021-05-05