## 1 - HW Main Meter Power
Questions for Ops: | A lot of these events line up with 3 - HW Main Meter Flow indicating they are likely related to operations. The sensor also has a lot of spikes, potentially most of these events are not anomalies. Very subjective.
Timestep Recommendation: | Minimum daily windows to capture daily pattern - likely going with a 2-3 minimum day window is better. The data is ~minute data so would correspond with a minimum of 1500-4500 points.
Timestep Figures: | 1_step_a, 1_step_b
General Figures: | 1_all_a, 1_all_b
Photo # | Comment | Type Estimate | Date | Related to
1a | Several points drop to zero (even though the trend is going down) | System | 2020-01-08 | Lines up with 3 - HW Main Meter Flow
1b | Points at zero | Sensor? | 2020-03-15 | Lines up with 3 - HW Main Meter Flow
1c | Points drop to zero | System | 2020-03-25 | Lines up with 3 - HW Main Meter Flow
1d | Points drop to zero rapidly | System | 2020-04-10 | Lines up with 3 - HW Main Meter Flow
1e | Points go down to zero and back up, on and off | System | 2020-05-08 | Lines up with 3 - HW Main Meter Flow
1f | Points rapidly drop to zero | System | 2020-07-03 | Lines up with 3 - HW Main Meter Flow
1g | Points rapidly drop to zero | System | 2020-07-14
1h | Points rapidly drop to zero | System | 2020-07-26
1i | Points rapidly drop to zero | System | 2020-08-07
1j | Points rapidly drop to zero | System | 2020-08-09
1k | Points rapidly drop to zero | System | 2020-08-25 | Lines up with 3 - HW Main Meter Flow
1l | Points rapidly drop to zero | System | 2020-09-06
1m | Points rapidly drop to zero | System | 2020-10-07
1n | Rapid spike and drop to zero | System | 2020-11-27
1o | Points near zero | Sensor? | 2020-12-13 | Lines up with 3 - HW Main Meter Flow
1p | Rapid drop to near zero | System | 2020-12-22 | Lines up with 3 - HW Main Meter Flow
1q | Point well below trend | Sensor? | 2020-12-30 | Lines up with 3 - HW Main Meter Flow
1r | Large spike dropping to near zero | System | 2021-01-02 | Lines up with 3 - HW Main Meter Flow
1s | Large spike | System | 2021-02-03 | Lines up with 3 - HW Main Meter Flow
1t | Large spike | System | 2021-02-12 | Lines up with 3 - HW Main Meter Flow
1u | Large spike dropping to near zero | System | 2021-04-19
1v | Large spike dropping to near zero | System | 2021-05-05 | Lines up with 3 - HW Main Meter Flow

## 2 - HW Main Meter Entering Wate
Questions for Ops: | A lot of these events line up with 3 - HW Main Meter Flow indicating they are likely related to operations. The sensor also has a lot of spikes, potentially most of these events are not anomalies. Very subjective.
Timestep Recommendation: | Minimum daily windows to capture daily pattern - likely going with a 2-3 minimum day window is better. The data is ~minute data so would correspond with a minimum of 1500-4500 points.
Timestep Figures: | 1_step_a, 1_step_b
General Figures: | 1_all_a, 1_all_b
Photo # | Comment | Type Estimate | Date | Related to
1a | Several points drop to zero (even though the trend is going down) | System | 2020-01-08 | Lines up with 3 - HW Main Meter Flow
1b | Points at zero | Sensor? | 2020-03-15 | Lines up with 3 - HW Main Meter Flow
1c | Points drop to zero | System | 2020-03-25 | Lines up with 3 - HW Main Meter Flow
1d | Points drop to zero rapidly | System | 2020-04-10 | Lines up with 3 - HW Main Meter Flow
1e | Points go down to zero and back up, on and off | System | 2020-05-08 | Lines up with 3 - HW Main Meter Flow
1f | Points rapidly drop to zero | System | 2020-07-03 | Lines up with 3 - HW Main Meter Flow
1g | Points rapidly drop to zero | System | 2020-07-14
1h | Points rapidly drop to zero | System | 2020-07-26
1i | Points rapidly drop to zero | System | 2020-08-07
1j | Points rapidly drop to zero | System | 2020-08-09
1k | Points rapidly drop to zero | System | 2020-08-25 | Lines up with 3 - HW Main Meter Flow
1l | Points rapidly drop to zero | System | 2020-09-06
1m | Points rapidly drop to zero | System | 2020-10-07
1n | Rapid spike and drop to zero | System | 2020-11-27
1o | Points near zero | Sensor? | 2020-12-13 | Lines up with 3 - HW Main Meter Flow
1p | Rapid drop to near zero | System | 2020-12-22 | Lines up with 3 - HW Main Meter Flow
1q | Point well below trend | Sensor? | 2020-12-30 | Lines up with 3 - HW Main Meter Flow
1r | Large spike dropping to near zero | System | 2021-01-02 | Lines up with 3 - HW Main Meter Flow
1s | Large spike | System | 2021-02-03 | Lines up with 3 - HW Main Meter Flow
1t | Large spike | System | 2021-02-12 | Lines up with 3 - HW Main Meter Flow
1u | Large spike dropping to near zero | System | 2021-04-19
1v | Large spike dropping to near zero | System | 2021-05-05 | Lines up with 3 - HW Main Meter Flow

## 3 - HW Main Meter Flow
Questions for Ops: | No specific questions on this sensor. If possible would be good to get ops to comment/validate. A lot of these events line up with 1 - HW Main Meter Power indicating they are likely related to operations.
Timestep Recommendation: | Minimum daily windows to capture daily pattern - likely going with a 2-3 minimum day window is better. The data is ~minute data so would correspond with a minimum of 1500-4500 points.
Timestep Figures: | 3_step_a, 3_step_b
General Figures: | 3_all_a, 3_all_b
Photo # | Comment | Type Estimate | Date | Related to
3a | Several points drop to zero | System | 2020-01-08 | Lines up with 1 - HW Main Meter Power
3b | Groups of points appear to jump above trend - may not be an anomaly | System | 2020-02-07 | Trend shows up on 1 - HW Main Meter Power
3c | Single point sitting well above trend | Sensor | 2020-02-21
3d | Points drop to zero rapidly | Sensor? | 2020-03-15 | Lines up with 1 - HW Main Meter Power
3e | Points drop to zero rapidly | System | 2020-03-25 | Lines up with 1 - HW Main Meter Power
3f | Points drop to zero rapidly | System | 2020-04-10 | Lines up with 1 - HW Main Meter Power
3g | Points go down to zero and back up | System | 2020-05-08 | Lines up with 1 - HW Main Meter Power
3h | Points spike up and down | System | 2020-07-03 | Lines up with 1 - HW Main Meter Power
3i | Point near zero below trend | System | 2020-08-25 | Lines up with 1 - HW Main Meter Power
3j | Point well below trend | Sensor | 2020-11-09
3k | Points spike up and down | System | 2020-11-27 | Lines up with 1 - HW Main Meter Power
3l | Points drop to zero rapidly | Sensor? | 2020-12-13 | Lines up with 1 - HW Main Meter Power
3m | Flatline of points above trend | Sensor | 2020-12-18
3n | Points drop to zero and go back up | System | 2020-12-22 | Lines up with 1 - HW Main Meter Power
3o | Points spike up and down | Sensor? | 2020-12-30 | Lines up with 1 - HW Main Meter Power
3p | Points spike up and down | System | 2021-01-02 | Lines up with 1 - HW Main Meter Power
3q | Points spike up and down | System | 2021-02-03 | Lines up with 1 - HW Main Meter Power
3r | Points spike up and down | System | 2021-02-12 | Lines up with 1 - HW Main Meter Power
3s | Points spike up and down | System | 2021-05-05 | Lines up with 1 - HW Main Meter Power